## Energy (2)
Account # 27518398 | Aug-23 | Sep-23 | Oct-23 | Nov-23 | Dec-23 | Jan-24 | Feb-24 | Mar-24 | Apr-24 | May-24 | Jun-24 | Jul-24
Total Charge ($) | 8840.93 | 8529.61 | 6848.46 | 4975.2 | 4711.06 | 5251.77 | 4655.51 | 5498.32 | 5848.22 | 7174.56 | 6817.92 | 8263.49
Demand Charge ($) | 774.14 | 871.04 | 816.89 | 621 | 584.62 | 560.39 | 614.54 | 664.42 | 694.34 | 719.99 | 735.67 | 751.34
kWh Usage (Metered) | 88200 | 80000 | 54000 | 37263 | 33600 | 41600 | 33400 | 39400 | 42600 | 65600 | 60400 | 76600
kWh Billed
Demand usage (Billed kW) | 235 | 240 | 250 | 182 | 168.5 | 160 | 179 | 196.5 | 207 | 216 | 221.5 | 227 | 2482.5
Monthly Energy Charge ($) | 8066.79 | 7658.57 | 6031.57 | 4354.2 | 4126.44 | 4691.38 | 4040.97 | 4833.9 | 5153.88 | 6454.57 | 6082.25 | 7512.15
Account # 155636640 | Aug-23 | Sep-23 | Oct-23 | Nov-23 | Dec-23 | Jan-24 | Feb-24 | Mar-24 | Apr-24 | May-24 | Jun-24 | Jul-24
Total Charge ($) | 2847.59 | 2532.42 | 2221.62 | 1735.48 | 2196.84 | 2785.6 | 1625.12 | 1558.26 | 1527.08 | 232.3 | 2192.52 | 2133.09
Demand Charge ($) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
kWh Usage (Metered) | 22928 | 19137 | 14997 | 11271 | 13997 | 19207 | 9569 | 8703 | 9136 | 16354 | 15860 | 15160
kWh Billed
Demand usage (Billed kW) | 73 | 71 | 79 | 74 | 98 | 108.5 | 81 | 76 | 60.5 | 74.5 | 76 | 72.5
Monthly Energy Charge ($) | 2847.59 | 2532.42 | 2221.62 | 1735.48 | 2196.84 | 2785.6 | 1625.12 | 1558.26 | 1527.08 | 232.3 | 2192.52 | 2133.09
Account # 122589427 | Aug-23 | Sep-23 | Oct-23 | Nov-23 | Dec-23 | Jan-24 | Feb-24 | Mar-24 | Apr-24 | May-24 | Jun-24 | Jul-24
Total Charge ($) | 9655.55 | 8824.3 | 7455.57 | 5931.73 | 5888.69 | 7439.74 | 5657.36 | 6081.79 | 6567.15 | 8228.96 | 8116.96 | 8987.17
Demand Charge ($) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
kWh Usage (Metered) | 95600 | 83600 | 59800 | 42327 | 43600 | 60600 | 39000 | 41800 | 47200 | 73000 | 71800 | 82200
kWh Billed
Demand usage (Billed kW) | 282.5 | 273.5 | 255.5 | 231 | 228 | 273.5 | 244 | 238 | 248.5 | 287 | 281 | 272.5
Monthly Energy Charge ($) | 9655.55 | 8824.3 | 7455.57 | 5931.73 | 5888.69 | 7439.74 | 5657.36 | 6081.79 | 6567.15 | 8228.96 | 8116.96 | 8987.17
Account #27020296 | Aug-23 | Sep-23 | Oct-23 | Nov-23 | Dec-23 | Jan-24 | Feb-24 | Mar-24 | Apr-24 | May-24 | Jun-24 | Jul-24
Total Charge ($) | 13541.17 | 12400.94 | 11084.31 | 9171.86 | 8319.92 | 8495.56 | 7942.36 | 9647.68 | 10815.88 | 11565.55 | 11745.64 | 12667.88
Demand Charge ($) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
kWh Usage (Metered) | 140800 | 125200 | 97600 | 76000 | 78000 | 82200 | 66200 | 80800 | 93200 | 113800 | 115000 | 125200
kWh Billed
Demand usage (Billed kW) | 383.5 | 341 | 345 | 225 | 233 | 243 | 295.5 | 323 | 352 | 342.5 | 352.5 | 341.5
Monthly Energy Charge ($) | 13541.17 | 12400.94 | 11084.31 | 9171.86 | 8319.92 | 8495.56 | 7942.36 | 9647.68 | 10815.88 | 11565.55 | 11745.64 | 12667.88
Totals | Aug-23 | Sep-23 | Oct-23 | Nov-23 | Dec-23 | Jan-24 | Feb-24 | Mar-24 | Apr-24 | May-24 | Jun-24 | Jul-24 | Total
Total Charge ($) | 34885.24 | 32287.27 | 27609.96 | 21814.27 | 21116.51 | 23972.67 | 19880.35 | 22786.05 | 24758.33 | 27201.37 | 28873.04 | 32051.63 | 317236.69
Demand Charge ($) | 774.14 | 871.04 | 816.89 | 621 | 584.62 | 560.39 | 614.54 | 664.42 | 694.34 | 719.99 | 735.67 | 751.34 | 8408.38
kWh Usage (Metered) | 347528 | 307937 | 226397 | 166861 | 169197 | 203607 | 148169 | 170703 | 192136 | 268754 | 263060 | 299160 | 2763509
Demand usage (kW Metered) | 235 | 240 | 250 | 182 | 168.5 | 160 | 179 | 196.5 | 207 | 216 | 221.5 | 227 | 2482.5
Monthly Energy Charge ($) | 34111.1 | 31416.23 | 26793.07 | 21193.27 | 20531.89 | 23412.28 | 19265.81 | 22121.63 | 24063.99 | 26481.38 | 28137.37 | 31300.29 | 308828.31
Unit Rate $/kWh
Demand Rate $/kW
Corrected Demand Rate $/kW
Correced Monthly Energy Usage $/kW
3.3871
0.11175
5645.1613

## AR summary
# | Category | Description | Energy savings | Electrical Energy cost savings | Increased Productivity | Total cost savings | CO_2 Savings | Implementation cost | Payback period
|  |  | kWh/yr | $/yr | (lbs/yr) | $/yr | Tons/yr | $ | yr
1 | Hvac Tuneup |  | 72020 | 8066 | 0 | 8066 | 27 | 0 | 0
2 | Discharge pressure of Air Compressor |  | 24928 | 2792 | 0 | 2792 | 10 | 100 | 0.04
3 | Occupancy Sensor |  | 56313 | 6307 | 0 | 6307 | 21 | 300 | 0.05
4 | Eliminate Leaks |  | 8083 | 905 | 0 | 905 | 3 | 45 | 0.05
5 | Higher Efficiency Lamps |  | 82050 | 9190 | 0 | 9783 | 31 | 6965 | 0.71
Total |  |  | 243394 | 27260 | 0 | 27853 | 92 | 7410 | 0.26604
[6 empty] | cost % | co2
[6 empty] | 8.177% | 7.651%
Hvac Tuneup
Energy Savings (kWh/yr) | Energy Cost Savings ($/yr) | Total Cost Savings ($/yr) | CO2 Reduction (Tons/yr) | Imp. Cost ($) | Payback Period |  |  |  | 0.050619
(yr)
72020 | 8066 | 8066 | 27 | 0 | 0
Higher Efficiency Lamps
Energy Savings (kWh/yr) | Energy Cost Savings | Demand Savings | Demand Cost | Total Cost Savings ($/yr) | CO2 | Imp. Cost ($) | Payback Period
| ($/yr) | (kW/yr) | ($/yr) |  | Reduction (tons/yr) |  | (yrs)
82050 | 9190 | 175 | 593 | 9783 | 31 | 6965 | 0.71
Occupancy Sensor
Energy Savings (kWh/yr) | Energy Cost Savings ($/yr) | Total Cost Savings ($/yr) | CO2 Reduction (Tons/yr) | Imp. Cost ($) | Payback Period
(yr)
56313 | 6307 | 6307 | 21 | 300 | 0.04 | 0.047566
Discharge pressure of Air Compressor
Energy Savings (kWh/yr) | Energy Cost Savings ($/yr) | Total Cost Savings ($/yr) | CO2 Reduction (Tons/yr) | Imp. Cost | Payback Period
|  |  |  | ($) | (yrs)
24928 | 2792 | 2792 | 10 | 100 | 0.04
Eliminate Leaks
Energy Savings (kWh/yr) | Energy Cost Savings ($/yr) | Total Cost Savings ($/yr) | CO2 Reduction (Tons/yr) | Imp. Cost | Payback Period
|  |  |  | ($) | (yrs)
8083 | 905 | 905 | 3 | 45 | 0.05

## Energy
Account # 27518398 | Jun-23 | Jul-23 | Aug-23 | Sep-23 | Oct-23 | Nov-23 | Dec-23 | Jan-24 | Feb-24 | Mar-24 | Apr-24 | May-24 | Jun-24 | Jul-24
Total Charge ($) | 8059.78 | 8337.8 | 8840.93 | 8529.61 | 6848.46 | 4975.2 | 4711.06 | 5251.77 | 4655.51 | 5498.32 | 5848.22 | 7174.56 | 6817.92 | 8263.49
Demand Charge ($) | 839.69 | 845.39 | 774.14 | 871.04 | 816.89 | 621 | 584.62 | 560.39 | 614.54 | 664.42 | 694.34 | 719.99 | 735.67 | 751.34
kWh Usage (Metered) | 75800 | 77600 | 88200 | 80000 | 54000 | 37263 | 33600 | 41600 | 33400 | 39400 | 42600 | 65600 | 60400 | 76600
kWh Billed
Demand usage (Billed kW) | 258 | 260 | 235 | 240 | 250 | 182 | 168.5 | 160 | 179 | 196.5 | 207 | 216 | 221.5 | 227 | 3000.5
Monthly Energy Charge ($) | 7220.09 | 7492.41 | 8066.79 | 7658.57 | 6031.57 | 4354.2 | 4126.44 | 4691.38 | 4040.97 | 4833.9 | 5153.88 | 6454.57 | 6082.25 | 7512.15
Account # 155636640 | Jun-23 | Jul-23 | Aug-23 | Sep-23 | Oct-23 | Nov-23 | Dec-23 | Jan-24 | Feb-24 | Mar-24 | Apr-24 | May-24 | Jun-24 | Jul-24
Total Charge ($) | 2395.05 | 2564.91 | 2847.59 | 2532.42 | 2221.62 | 1735.48 | 2196.84 | 2785.6 | 1625.12 | 1558.26 | 1527.08 | 232.3 | 2192.52 | 2133.09
Demand Charge ($) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
kWh Usage (Metered) | 18182 | 18732 | 22928 | 19137 | 14997 | 11271 | 13997 | 19207 | 9569 | 8703 | 9136 | 16354 | 15860 | 15160
kWh Billed
Demand usage (Billed kW) | 77.5 | 73.5 | 73 | 71 | 79 | 74 | 98 | 108.5 | 81 | 76 | 60.5 | 74.5 | 76 | 72.5
Monthly Energy Charge ($) | 2395.05 | 2564.91 | 2847.59 | 2532.42 | 2221.62 | 1735.48 | 2196.84 | 2785.6 | 1625.12 | 1558.26 | 1527.08 | 232.3 | 2192.52 | 2133.09
Account # 122589427 | Jun-23 | Jul-23 | Aug-23 | Sep-23 | Oct-23 | Nov-23 | Dec-23 | Jan-24 | Feb-24 | Mar-24 | Apr-24 | May-24 | Jun-24 | Jul-24
Total Charge ($) | 8765.47 | 9675.49 | 9655.55 | 8824.3 | 7455.57 | 5931.73 | 5888.69 | 7439.74 | 5657.36 | 6081.79 | 6567.15 | 8228.96 | 8116.96 | 8987.17
Demand Charge ($) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
kWh Usage (Metered) | 83400 | 93400 | 95600 | 83600 | 59800 | 42327 | 43600 | 60600 | 39000 | 41800 | 47200 | 73000 | 71800 | 82200
kWh Billed
Demand usage (Billed kW) | 277 | 282 | 282.5 | 273.5 | 255.5 | 231 | 228 | 273.5 | 244 | 238 | 248.5 | 287 | 281 | 272.5
Monthly Energy Charge ($) | 8765.47 | 9675.49 | 9655.55 | 8824.3 | 7455.57 | 5931.73 | 5888.69 | 7439.74 | 5657.36 | 6081.79 | 6567.15 | 8228.96 | 8116.96 | 8987.17
Account #27020296 | Jun-23 | Jul-23 | Aug-23 | Sep-23 | Oct-23 | Nov-23 | Dec-23 | Jan-24 | Feb-24 | Mar-24 | Apr-24 | May-24 | Jun-24 | Jul-24
Total Charge ($) | 11760.82 | 12345.85 | 13541.17 | 12400.94 | 11084.31 | 9171.86 | 8319.92 | 8495.56 | 7942.36 | 9647.68 | 10815.88 | 11565.55 | 11745.64 | 12667.88
Demand Charge ($) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
kWh Usage (Metered) | 118400 | 126000 | 140800 | 125200 | 97600 | 76000 | 78000 | 82200 | 66200 | 80800 | 93200 | 113800 | 115000 | 125200
kWh Billed
Demand usage (Billed kW) | 350 | 324.5 | 383.5 | 341 | 345 | 225 | 233 | 243 | 295.5 | 323 | 352 | 342.5 | 352.5 | 341.5
Monthly Energy Charge ($) | 11760.82 | 12345.85 | 13541.17 | 12400.94 | 11084.31 | 9171.86 | 8319.92 | 8495.56 | 7942.36 | 9647.68 | 10815.88 | 11565.55 | 11745.64 | 12667.88
Totals | Jun-23 | Jul-23 | Aug-23 | Sep-23 | Oct-23 | Nov-23 | Dec-23 | Jan-24 | Feb-24 | Mar-24 | Apr-24 | May-24 | Jun-24 | Jul-24 | Total
Total Charge ($) | 30981.12 | 32924.05 | 34885.24 | 32287.27 | 27609.96 | 21814.27 | 21116.51 | 23972.67 | 19880.35 | 22786.05 | 24758.33 | 27201.37 | 28873.04 | 32051.63 | 381141.86
Demand Charge ($) | 839.69 | 845.39 | 774.14 | 871.04 | 816.89 | 621 | 584.62 | 560.39 | 614.54 | 664.42 | 694.34 | 719.99 | 735.67 | 751.34 | 10093.46
kWh Usage (Metered) | 295782 | 315732 | 347528 | 307937 | 226397 | 166861 | 169197 | 203607 | 148169 | 170703 | 192136 | 268754 | 263060 | 299160 | 3375023
Demand usage (kW Metered) | 962.5 | 940 | 974 | 925.5 | 929.5 | 712 | 727.5 | 785 | 799.5 | 833.5 | 868 | 920 | 931 | 913.5 | 12221.5
Monthly Energy Charge ($) | 30141.43 | 32078.66 | 34111.1 | 31416.23 | 26793.07 | 21193.27 | 20531.89 | 23412.28 | 19265.81 | 22121.63 | 24063.99 | 26481.38 | 28137.37 | 31300.29 | 371048.4
Unit Rate $/kWh | 0.11293
Demand Rate $/kW | 0.82588
Corrected Demand Rate $/kW
Correced Monthly Energy Usage $/kW
3.3639
0.10994
5645.1613

## Gas
Account # 0033872 | 2024-05-23 | 2024-06-23 | 2024-07-23 | 2024-08-23 | 2024-09-23 | 2024-10-23 | 2024-11-23 | 2024-12-23 | 2024-01-24 | 2024-02-24 | 2024-03-24 | 2024-04-24
Total Gas Charges ($) | 61.19 | 14.14 | 12.5 | 12.5 | 12.5 | 12.5 | 12.5 | 55.94 | 111.08 | 280.18 | 113.38 | 112.28
CCF | 73 | 2 | 0 | 0 | 0 | 0 | 0 | 94 | 214 | 582 | 219 | 150
MMBTU | 7.5336 | 0.2064 | 0 | 0 | 0 | 0 | 0 | 9.7008 | 22.0848 | 60.0624 | 22.6008 | 15.48
Account # 0019580 | 2024-05-23 | 2024-06-23 | 2024-07-23 | 2024-08-23 | 2024-09-23 | 2024-10-23 | 2024-11-23 | 2024-12-23 | 2024-01-24 | 2024-02-24 | 2024-03-24 | 2024-04-24
Total Gas Charges ($) | 1013.5 | 1295.05 | 922.36 | 759.11 | 675.49 | 600.64 | 666.25 | 736.51 | 588.53 | 627.12 | 907.43 | 1127.63
CCF | 1466 | 1807 | 1599 | 1353 | 1295 | 1219 | 1362 | 1514 | 1192 | 1276 | 1886 | 1638
MMBTU | 151.2912 | 186.4824 | 165.0168 | 139.6296 | 133.644 | 125.8008 | 140.5584 | 156.2448 | 123.0144 | 131.6832 | 194.6352 | 169.0416
Account # 0061727 | 2024-05-23 | 2024-06-23 | 2024-07-23 | 2024-08-23 | 2024-09-23 | 2024-10-23 | 2024-11-23 | 2024-12-23 | 2024-01-24 | 2024-02-24 | 2024-03-24 | 2024-04-24
Total Gas Charges ($) | 171.01 | 28.04 | 63.4 | 71.37 | 164.99 | 46.59 | 149.53 | 182.61 | 263.95 | 348.49 | 276.35 | 204.19
CCF | 227 | 11 | 78 | 96 | 295 | 57 | 281 | 353 | 530 | 714 | 557 | 277
MMBTU | 23.4264 | 1.1352 | 8.0496 | 9.9072 | 30.444 | 5.8824 | 28.9992 | 36.4296 | 54.696 | 73.6848 | 57.4824 | 28.5864
Account # 0068877 | 2024-05-23 | 2024-06-23 | 2024-07-23 | 2024-08-23 | 2024-09-23 | 2024-10-23 | 2024-11-23 | 2024-12-23 | 2024-01-24 | 2024-02-24 | 2024-03-24 | 2024-04-24
Total Gas Charges ($) | 17.39 | 16.22 | 16.6 | 16.46 | 15.2 | 18.73 | 20.56 | 15.51 | 15.06 | 17.81 | 15.05 | 26.02
CCF | 7 | 5 | 7 | 7 | 5 | 13 | 17 | 6 | 5 | 11 | 5 | 20
MMBTU | 0.7224 | 0.516 | 0.7224 | 0.7224 | 0.516 | 1.3416 | 1.7544 | 0.6192 | 0.516 | 1.1352 | 0.516 | 2.064
Account #Total | 2024-05-23 | Jun-23 | Jul-23 | Aug-23 | Sep-23 | Oct-23 | Nov-23 | Dec-23 | Jan-24 | Feb-24 | Mar-24 | Apr-24 | Total
Total Gas Charges $ | 1263.09 | 1353.45 | 1014.86 | 859.44 | 868.18 | 678.46 | 848.84 | 990.57 | 978.62 | 1273.6 | 1312.21 | 1470.12 | 12911.44
CCF | 1773 | 1825 | 1684 | 1456 | 1595 | 1289 | 1660 | 1967 | 1941 | 2583 | 2667 | 2085 | 22525
MMBTU | 182.9736 | 188.34 | 173.7888 | 150.2592 | 164.604 | 133.0248 | 171.312 | 202.9944 | 200.3112 | 266.5656 | 275.2344 | 215.172 | 2324.58
$/MMBTU | 5.5543

## Propane Bills
Jun-23 | Jul-23 | Aug-23 | Sep-23 | Oct-23 | Nov-23 | Dec-23 | Jan-24 | Feb-24 | Mar-24 | Apr-24 | May-24 | Jun-24 | Jul-24 | Total
850.46 | 752.33 | 654.2 | 392.52 | 1406.53 | 654.2 | 327.1 | 825.95 | 688.05 | 618.3 | 996.15 | 687 | 790.05 | 824.4 | 10467.24
26 | 23 | 20 | 12 | 33 | 20 | 10 | 25 | 20 | 18 | 29 | 20 | 23 | 24 | 303
[15 empty] | Total Gallons | 2272.5
[15 empty] | Total MMBTU | 207.9338
[15 empty] | Total CCF | 2031.47
[15 empty] | $/MMBTU | 50.3393
[15 empty] | $/CCF | 5.1525
[15 empty] | MMBTU/CCF | 9.7698

## Section 1
| 1.1 General Information |  |  |  | https://en.wikipedia.org/wiki/Standard_Industrial_Classification
| SIC No | 3491 | NAICS | 332911 | https://www.census.gov/eos/www/naics/2017NAICS/2017_NAICS_Manual.pdf | p.116
| Assessment Day | 2024-09-23 | Annual Production | 6200 | parts/yr
| Location | Houma,LA | Annual Sales | 35000000 | $
| No of Emp | 120 | Value / Finished product | 5645.1613 | $/unti
| Total Facility Area | 211185 | Total Energy Usage | 11754.0596 | MMbtu/yr
| Principal Product | Industrial Valves | Total Energy Cost | 340615 | $/yr
| Operation Hours | 5616 | No of Ars | 5 |  |  |  | 0.001037 | 2784.4744
[8 empty] | 0.08296 | 2784.4744
Table 1-1
| Energy Type | Usage |  | Cost | Unit Cost
| Electricity Energy | 2763509 | kWh/year | 308828.31 | 0.11175 | $/kWh
| Electricity Energy | 9429.4796 | MMBTU/year
| Electricity Demand | 2482.5 | kW/yr | 8408.38 | 3.3871 | $/kW
| Other Energy Fees | N/A |  | 0 | 0%
| Natural Gas | 2324.58 | MMBTU/year | 12911.44 | 5.5543 | $/MMbtu
| Landfill Gas | 0 | MMBTU/year | 0 | #DIV/0! | $/MMbtu
| Propane Gas | 207.934 | MMBTU/year | 10467.24 | 50.3221 | $/MMbtu | http://weldfabulous.com/80-cu-ft-75-argon-25-co2-welding-gas-cylinder-tank-cga-580-full/?CAWELAID=320010420000433722&CATARGETID=320010420059820221&cadevice=c&gclid=CjwKCAiA_ZTfBRBjEiwAN6YG4R4gbq6-c-_9p6vOZ-snF5SztrtqjdjCTdMDHhD-HtPP6oOIFY5MOxoCrIYQAvD_BwE
| Water |  | Tgal/yr |  | #DIV/0! | $/Tgal
| Sewage |  | Tgal/yr |  |  | $/Tgal
| MMBtu Totals | 11961.9936 | MMBTU/year | 340615 | $/yr
340615.37
Table 1-2
| Electricity | 1054.2787 | Tons CO2/year |  | 330148.13
| Natural Gas | 135.9879
| Propane Gas | 12.1641 | Tons CO2/year
| Total | 1202.4308 | Tons CO2/year
4
SIC Code
| Parameter | Value | Unit | Description | Justification for Value | Reference
ok | SIC | 3491 |  | SIC Code for Facility | https://iac.university/assessment/SF0460 | https://en.wikipedia.org/wiki/Standard_Industrial_Classification
NAIC Code
| Parameter | Value | Unit | Description | Justification for Value | Reference
ok | NAIC | 332911 |  | NAIC Code for Facility |  | https://www.census.gov/eos/www/naics/2017NAICS/2017_NAICS_Manual.pdf
Assessment Date
| Parameter | Value | Unit | Description | Justification for Value | Reference
ok | Date | 2024-09-23 |  | Date of Assessment | Documented the day of assessment
Annual Production
| Parameter | Value | Unit | Description | Justification for Value | Reference
ok | Ann Pro | 6200 | unit | Facility Annual Production | 35 unit/wk | #1
Location
| Parameter | Value | Unit | Description | Justification for Value | Reference
ok | Location | Houma,LA |  | Facility Location |  | #1 |  |  | 2080
# Employees
| Parameter | Value | Unit | Description | Justification for Value | Reference
| Empl # | 120 |  | Number of People Employed |  | #1
Annual Sales
| Parameter | Value | Unit | Description | Justification for Value | Reference
ok | Ann Sales | 35000000 | USD | Facility Annual Sales |  | #1
Value Per Product
| Parameter | Value | Unit | Description | Justification for Value | Reference
ok | V/P | 5645.1613 |  | Value Per Finished Product | Annual Sales/ Annual Production | #4
Facility Area
| Parameter | Value | Unit | Description | Justification for Value | Reference
ok | total ft2 | 211185 | ft^2 | 1086*700
acres
|  |  | ft2/acre | Amount of square feet in one acre
Total Energy Use
| Parameter | Value | Unit | Description | Justification for Value | Reference
| Total MMBTU Use | 11754.0596 | MMBTU | Total Energy use in facility | Electricity + Diesel + Natural Gas Usage
Principle Prod
| Parameter | Value | Unit | Description | Justification for Value | Reference
ok | Princ Prod | Industrial Valves |  | Facility Principle Product |  | #1
[10 empty] | 84.5 | 16.9
[10 empty] | 36.9 | 18.45
Total Energy Cost
| Parameter | Value | Unit | Description | Justification for Value | Reference
| Total E Cost | 340615.37 | $/year | Total Energy cost in facility | Electricity + Diesel + Gas Cost
Operation Hours
| Parameter | Value | Unit | Description | Justification for Value | Reference
ok | Op H | 5616 |  | Annual Operation Hours | #Hours*#days*#Annual Weeks
| HwD | 10 |  | Hours in one work day | Two 10 Hour Shifts | #1
| DwD | 4 |  | Days In work week | Everyday | #1
| Wy | 52 |  | Week in one year | Common Knowledge
| DwY | - |  | Days In work year
# ARs
| Parameter | Value | Unit | Description | Justification for Value | Reference
ok | AR# | 5 |  | Number of Assessment Recommendations | Total Recommendations in Report
Total Elec Cost
| Parameter | Value | Unit | Description | Justification for Value | Reference
| total cost | 317236.69 | $ |  | See Elec Spreadsheet
Elec Energy Use
| Parameter | Value | Unit | Description | Justification for Value | Reference
ok | EKwh | 2763509 | kWH |  | See Elec Spreadsheet
Elec Energy Charge
| Parameter | Value | Unit | Description | Justification for Value | Reference
ok | ECost | 308828.31 | $ |  | See Elec Spreadsheet
Late Payment
| Parameter | Value | Unit | Description | Justification for Value | Reference
| CCost |  | $ |  | See Elec Spreadsheet
Elec Use In MMBTU
| Parameter | Value | Unit | Description | Justification for Value | Reference
| EBTU | 9429.4796 |  | Total Electricity Use In MMBTU
| Conversion Factor | 0.0034121 | MMBTU/kWh | MMBTU/kWh | mmbtu = btu *10^6 | https://www.google.com/webhp?sourceid=chrome-instant&ion=1&espv=2&ie=UTF-8#q=1+kwh+to+mmbtu&*
1kwh = 3412.14 btu & 1kwh = 0.00341214 MMbtu
$/kWh
| Parameter | Value | Unit | Description | Justification for Value | Reference
| Eunit | 0.11175 | $/kWh | Unit Cost Of Electricity | $/KWH same formula was used DOE report. Colorado and Alabama Report | #2 #6 #7
ok | Elec Demand
| Parameter | Value | Unit | Description | Justification for Value | Reference
| Avg Demand / month | 206.875 | kW | Avg Demand
| Total Demand / yr | 2482.5 | kW | sum for a year
| Months | 12
ok
Demand Charge
| Parameter | Value | Unit | Description | Justification for Value | Reference
| DC | 8408.38 | $ | Avg Demand
$/kW
| Parameter | Value | Unit | Description | Justification for Value | Reference
| Eunit | 3.3871 | $/kW | Unit Cost Of Electricity | $/KWH same formula was used DOE report. Colorado and Alabama Report | #2 #6 #7
Other Elec Fees (tax)
| Parameter | Value | Unit | Description | Justification for Value | Reference
| TOTAL | 0 |  | Total State Tax
TSI Rate
| Parameter | Value | Unit | Description | Justification for Value | Reference
| TSI Rate | 0 |  | Average TSI Rate |  | #2
ok
N Gas Use
| Parameter | Value | Unit | Description | Justification for Value | Reference
| GCCF | 22525 | CCF | Total Gas Usage
N Gas in MMBTU
| Parameter | Value | Unit | Description | Justification for Value | Reference
| GBTU | 2324.58 | MMBTU | Total Natural Gas USE In MMBTU | Estimated from similar facility (Lula)
| G2B | 0.1032 | MMBTU/CCF | Amount of MMBTU in one ccf | one Ccf = 103,200 Btu = 0.1032 mmbtu | https://www.eia.gov/tools/faqs/faq.cfm?id=45&t=8
ok
Gas Cost
| Parameter | Value | Unit | Description | Justification for Value | Reference
| GCost | 12911.44 | $ | Total Natural Gas Cost | Estimated from similar facility (Lula)
Unit Cost of gas
| Parameter | Value | Unit | Description | Justification for Value | Reference
| Gunit | 5.5543 | $/MMBTU | Unit cost of Natural Gas | $/MMBTU
Nitrogen Gas Use
| Parameter | Value | Unit | Description | Justification for Value | Reference
| GCCF |  | CCF | Total Gas Usage
Propane Gas in MMBTU
| Parameter | Value | Unit | Description | Justification for Value | Reference
| GBTU | 207.934 | MMBTU | Total Natural Gas USE In MMBTU
| G2B | 0.1032 | MMBTU/CCF | Amount of MMBTU in one ccf | one Ccf = 103,200 Btu = 0.1032 mmbtu | https://www.eia.gov/tools/faqs/faq.cfm?id=45&t=8
Gas Cost
| Parameter | Value | Unit | Description | Justification for Value | Reference
| GCost | 10467.24 | $ | Total Welding Gas Cost
| Unit Cost of gas | [8 empty] | 2.8869 | 27.9736
| Parameter | Value | Unit | Description | Justification for Value | Reference
| Gunit | 50.3392 | $/MMBTU | Unit cost of Natural Gas | $/MMBTU | http://weldfabulous.com/80-cu-ft-75-argon-25-co2-welding-gas-cylinder-tank-cga-580-full/?CAWELAID=320010420000433722&CATARGETID=320010420059820221&cadevice=c&gclid=CjwKCAiA_ZTfBRBjEiwAN6YG4R4gbq6-c-_9p6vOZ-snF5SztrtqjdjCTdMDHhD-HtPP6oOIFY5MOxoCrIYQAvD_BwE
Landfill Gas
| Parameter | Value | Unit | Description | Justification for Value | Reference
| Dgal | 0 |  | Email from client |  | diesel usage in gallons (per year or per month)? 12,000 gallons per month
| $/Gal | 3
| Dcost/yr |  |  | Pre-assessment form
Landfill Gas Use
| Parameter | Value | Unit | Description | Justification for Value | Reference
| LGMMBTU | 0 |  | Total Diesel USE In MMBTU | 1 mmbtu =1,000,000 btu
| D2B | 0 |  | Amount of diesel in one Btu |  | https://www.eia.gov/energyexplained/index.cfm/index.cfm?page=about_btu
Landfill Cost
| Parameter | Value | Unit | Description | Justification for Value | Reference
| LGCost |  | $/year | Total Diesel Cost | Client gave us this monthly cost
Unit Cost of LG
| Parameter | Value | Unit | Description | Justification for Value | Reference
| LGunit | #DIV/0! | $/MMBTU | Unit cost of Diesel | $/MMBTU | #2 #6
Energy Use in MMbtu
| Parameter | Value | Unit | Description | Justification for Value | Reference
| NRGU | 11754.0596 | MMBTU | Total Energy Use In MMBTU | EBTU+GBTU+DMMBTU
Energy Cost
| Parameter | Value | Unit | Description | Justification for Value | Reference
| NRGC | 340615.37 | $ | Total Energy Cost | ECOST+GCOST+DCOST
Carbon Print
| Parameter | Value | Unit | Description | Justification for Value | Reference
| Total CO2 | 1202.4308 |  | Total Carbon Footprint
| E_CO2 | 1054.2787 |  | Electrical Carbon Footprint TON CO2/yr | lb to Ton conversion | #4
| NG_CO2 | 135.9879 |  | Natural Gas Carbon Footprint TON CO2/yr | lb to Ton conversion | #4
| Diesel_CO2 | 0 |  | Diesel Carbon Footprint TON CO2/yr
| PR_CO2 | 12.1641 |  | Propane co2 emission ton /yr | lb to Ton conversion
| lb2Ton | 0.0005 |  |  | Ton =lb*0.0005 | https://www.google.com/webhp?sourceid=chrome-instant&rlz=1C1CAFA_enUS654US654&ion=1&espv=2&ie=UTF-8#q=lbs+to+ton&*
| Location | 763 | lbs/Mwh | SRMV Area | CO2 emission lb/mwh in SRMV area (electricity) | https://www.epa.gov/sites/production/files/2015-10/documents/egrid2012_ghgoutputrates_0.pdf
| EMWH | 2763.509 |  | Electricity in MWH
| mmbtu2MWH | 0.293 |  | MMBTU to MWH Conversion rate | MWH=MMBT*.293 | https://www.google.com/webhp?sourceid=chrome-instant&rlz=1C1CAFA_enUS654US654&ion=1&espv=2&ie=UTF-8#q=mmbtu+to+mwh&*
| ng_co2_lbs | 271975.86 |  | 117 | co2 lbs / mmbtu (natural gas) | https://www.eia.gov/environment/emissions/co2_vol_mass.cfm
| diesel_co2_lbs | 0 |  | 117 | co2 lbs / mmbtu (diesel)
| pr_co2_lbs | 24328.278 |  | 117 | co2 lbs / mmbtu (propane gas) | https://www.eia.gov/environment/emissions/co2_vol_mass.cfm
| Elb | 2108557.367 |  | Electric Carbon Footprint lb CO2/yr |  | #8
| gallon2ton | 0.03149 |  |  | Ton =gallon*0.03149 | https://www.convertunits.com/from/gallon/to/ton
#8

## Section 2 (2)
Energy Application | Power (hp) | Quantity | Total Power (hp) | Percentage
Welding Machines | 93 | 5 | 577 | 61%
| 56 | 2
Chillers | 25 | 7 | 175 | 18%
Air Compressor | 50 | 4 | 200 | 21%
Total |  | 18 | 952 | 100%